Jordan Tower I Renovation Project

Scope of Work

Domestic Plumbing and Fixtures

- Replace existing domestic hot water boilers and pumps with new.

- Replace all existing domestic plumbing piping, including underground waste with new.

- Replace all existing tenant unit bathroom toilets, vanity cabinets and countertops with sinks, faucets, shower/tubs, shower/tub controls, accessories (grab bars, towel bars, robe hooks, medicine cabinet, etc.), light fixtures, power outlets, and flooring finishes with new.

- Replace existing wall and ceiling drywall and finishes with new as required for piping replacement.

- Remove and replace sections of level 1 floor finishes and concrete floor slabs with new as required for underground piping replacement.

- Remove and reinstall tenant unit kitchen cabinets and counters as required for piping replacement. If the budget allows, the kitchen counters will be replaced with new.

- Replace all existing tenant unit kitchen sinks and faucets with new.

Tenant Electrical Panels

- Replace all existing tenant unit electrical panels with new.

Exterior Door Replacement

- Replace existing main entrance vestibule exterior entrance door and window system, doors, glass, hardware, and power door operators with new.

- Replace existing secondary entrance vestibule exterior and interior doors, frames, hardware, and power door operators with new.

- Replace existing mechanical penthouse exterior doors, frames, and hardware with new.

Residual Work

- Any other residual work necessary related to work listed above for a complete and finished project.