Family Scattered Site Renovation Project

Scope of Work

Domestic Plumbing and Fixtures

- Replace all existing domestic plumbing piping, including underground waste piping with new.

- Replace all existing tenant unit bathroom toilets, vanity cabinets and countertops with sinks, faucets, shower/tubs, shower/tub controls, accessories (towel bars, robe hooks, medicine cabinet, etc.), light fixtures, power outlets, flooring finishes, and doors and hardware with new.

- Replace existing wall and ceiling drywall and finishes with new as required for piping replacement.

- Remove and replace sections of basement concrete floor slabs with new as required for underground piping replacement.

- Remove and reinstall tenant unit kitchen cabinets and counters as required for piping replacement.

- Replace all existing tenant unit kitchen sinks and faucets with new.

- Replace existing water heaters with new, if the budget allows.

Windows

- Replace all existing windows including interior and exterior trim with new.

Storage Door Replacement (Pioneer Place & Featherstone)

- Replace existing storage doors and exterior trim with new.

Residual Work

- Any other residual work necessary related to work listed above for a complete and finished project.